## README
Item | Explanation
Objective | Assess how uncertainty in generation project delays, transmission project delays, fuel prices, demand growth affects transmission expansion, generation capacity and the country average price.
Model | ModeloCh4_Correccion.mdl with data from PERU.xlsx, patched with the 4 sensitivity constants and published as ModeloCh4_Sens2.vpmx; simulated 2025-01 to 2050-01 (300 months, dt = 0.25 month) with the Vensim DSS DLL.
Factor 1 – Generation project delays | ±20%. Licensing + construction time of every technology, through the same mechanism as 'Other delays' in sheet 'Gen Investment parameters'. Expressed against the workbook base case (B15 = -0.2), not the planned time.
Factor 2 – Transmission project delays | ±20%. Public-tender, investor-selection, licensing and construction times of transmission projects (lines and GETs, sheet 'Trans Investment parameters'). The 12-month planning cycle is deliberately not changed.
Factor 3 – Fuel prices | ±15%. 'Fuel Cost' of every technology that burns fuel (sheet 'Gen Investment parameters', row 21).
Factor 4 – Demand growth | ±20%. The 2050 demand level reached by the growth path. The multiplier is 1 in January 2025 and 1 + factor in January 2050, so the starting point is untouched and only the growth rate varies.
Tornado diagram | One-at-a-time: each factor is set to its low and its high value while the others stay at base. Bars show the change of the KPI against the base case; factors are sorted by swing (¦high − low¦).
P10–P90 distribution | 120 Latin-Hypercube Monte Carlo runs with all 4 factors varying simultaneously (uniform distributions). P10 = value exceeded by 90 % of runs; P90 = value exceeded by 10 % of runs; P50 = median.
Best / worst scenario | Chosen among the Monte Carlo runs: best = lowest country average price, worst = highest country average price
KPI – Total transmission [km] | 'Total Transmission' = demand-connection + generation-connection + interconnection lines, value at Jan-2050.
KPI – Transmission capacity [GW] | 'Total Interconnection Capacity' (MW) / 1000, value at Jan-2050.
KPI – Generation capacity [GW] | 'Total Generation Capacity', value at Jan-2050.
KPI – Country average price [USD/MWh] | Mean of 'Electricity Tariff[Regulated, Zone]' over the active zones; KPI = mean of the last 12 months of the run. Components: generation tariff, transmission tariff, congestion tariff and other charges (taxes, distribution, etc.).
Sampling | Latin Hypercube (seed 2026): each factor range is cut into 120 equal intervals and one value is drawn at random inside each interval; the intervals of the three factors are paired at random. This covers each range evenly with fewer runs than plain random sampling.
Convergence check | Sheet 'Convergence' and chart 10: P10/P50/P90 recomputed with the first 10, 20, 50, 100 ... runs. If the values no longer move, the number of runs is sufficient.
Factor influence | Sheet 'Rank_correlation' and chart 11: Spearman rank correlation between each factor and each KPI over all Monte Carlo runs (-1 to +1; near 0 = no influence). It complements the tornado, which varies one factor at a time.
Traceability | tornado_results/runs/<run>.csv = full monthly output of every run; <run>.json = factor values used; run_log.csv = finish time and duration of each run; experiment_design.csv = full sample. Model copy actually simulated: tornado_results/_model/peru_sens.mdl.
Charts | 00 summary table, 01–02 P10–P90 distribution, 03 tornado, 04 price, 05 installed capacity by technology, 06 generation by technology, 07 transmission capacity (GW), 08 transmission length (km), 09 sampling design, 10 convergence, 11 factor influence.

## Best_Worst_Scenarios
Scenario | Run | Generation project delays | Transmission project delays | Fuel prices | Demand growth | Total transmission 2030 [km] | Total transmission 2040 [km] | Total transmission 2050 [km] | Total transmission capacity 2030 [GW] | Total transmission capacity 2040 [GW] | Total transmission capacity 2050 [GW] | Total installed generation capacity 2030 [GW] | Total installed generation capacity 2040 [GW] | Total installed generation capacity 2050 [GW] | Country average electricity price 2030 [USD/MWh] | Country average electricity price 2040 [USD/MWh] | Country average electricity price 2050 [USD/MWh] | Total transmission 2050 vs base [%] | Total transmission capacity 2050 vs base [%] | Total installed generation capacity 2050 vs base [%] | Country average electricity price 2050 vs base [%]
Base | base | +0.0% | +0.0% | +0.0% | +0.0% | 20896.26 | 33462.76 | 46341.23 | 1.6 | 3.56 | 4.56 | 21.26 | 39.99 | 63.85 | 191.83 | 147.2 | 124.46 | 0 | 0 | 0 | 0
Best | mc_009 | +9.8% | +2.6% | -2.5% | +17.3% | 20695.17 | 37885.32 | 58561.73 | 1.6 | 3.75 | 5.03 | 20.15 | 47.9 | 86.4 | 204.31 | 135.44 | 114.94 | 26.4 | 10.3 | 35.3 | -7.6
Worst | mc_058 | -5.4% | +8.2% | -1.1% | -16.5% | 20480.54 | 31015.11 | 38927.13 | 1.6 | 3.37 | 4.34 | 21.11 | 36.6 | 49.18 | 186.01 | 143.02 | 135.63 | -16 | -4.8 | -23 | 9

## Distribution_P10_P90
| Base | P10 | P50 | P90 | Mean | Min | Max | P90 − P10
Total transmission [km] | 46341.23 | 39857.99 | 47787.91 | 57068.7 | 48422.22 | 37658.21 | 60509.77 | 17210.7
Total transmission capacity [GW] | 4.56 | 4.23 | 4.7 | 5.29 | 4.73 | 4.02 | 5.84 | 1.06
Total installed generation capacity [GW] | 63.85 | 52.33 | 66.82 | 82.49 | 67.38 | 47.81 | 89.74 | 30.16
Country average electricity price [USD/MWh] | 124.46 | 116.83 | 122.76 | 129.42 | 122.89 | 114.94 | 135.63 | 12.59

## Tornado
KPI | Unit | Factor | Range | Base value | Value with factor low | Value with factor high | Change (low) | Change (high) | Change (low) % | Change (high) % | Swing ¦high−low¦
Country average electricity price | USD/MWh | Demand growth | −20% / +20% | 124.463 | 131.308 | 118.222 | 6.845 | -6.241 | 5.5 | -5.014 | 13.086
Country average electricity price | USD/MWh | Generation project delays | −20% / +20% | 124.463 | 118.6 | 124.122 | -5.863 | -0.34 | -4.711 | -0.273 | 5.523
Country average electricity price | USD/MWh | Transmission project delays | −20% / +20% | 124.463 | 123.102 | 125.729 | -1.36 | 1.266 | -1.093 | 1.017 | 2.626
Country average electricity price | USD/MWh | Fuel prices | −15% / +15% | 124.463 | 124.96 | 124.954 | 0.497 | 0.492 | 0.399 | 0.395 | 0.005
Total installed generation capacity | GW | Demand growth | −20% / +20% | 63.85 | 48.499 | 82.578 | -15.351 | 18.728 | -24.042 | 29.332 | 34.079
Total installed generation capacity | GW | Generation project delays | −20% / +20% | 63.85 | 70.638 | 64.553 | 6.788 | 0.704 | 10.631 | 1.102 | 6.085
Total installed generation capacity | GW | Fuel prices | −15% / +15% | 63.85 | 64.078 | 64.718 | 0.229 | 0.868 | 0.358 | 1.36 | 0.64
Total installed generation capacity | GW | Transmission project delays | −20% / +20% | 63.85 | 64.72 | 64.643 | 0.87 | 0.794 | 1.363 | 1.243 | 0.076
Total transmission | km | Demand growth | −20% / +20% | 46341.234 | 37589.227 | 57383.387 | -8752.008 | 11042.152 | -18.886 | 23.828 | 19794.16
Total transmission | km | Generation project delays | −20% / +20% | 46341.234 | 49317.469 | 47107.207 | 2976.234 | 765.973 | 6.422 | 1.653 | 2210.262
Total transmission | km | Fuel prices | −15% / +15% | 46341.234 | 46432.367 | 47161.309 | 91.133 | 820.074 | 0.197 | 1.77 | 728.941
Total transmission | km | Transmission project delays | −20% / +20% | 46341.234 | 47153.531 | 46666.988 | 812.297 | 325.754 | 1.753 | 0.703 | 486.543
Total transmission capacity | GW | Demand growth | −20% / +20% | 4.556 | 4.174 | 5.255 | -0.382 | 0.7 | -8.388 | 15.356 | 1.082
Total transmission capacity | GW | Transmission project delays | −20% / +20% | 4.556 | 4.791 | 4.334 | 0.235 | -0.222 | 5.161 | -4.878 | 0.457
Total transmission capacity | GW | Fuel prices | −15% / +15% | 4.556 | 4.777 | 4.583 | 0.221 | 0.027 | 4.852 | 0.591 | 0.194
Total transmission capacity | GW | Generation project delays | −20% / +20% | 4.556 | 4.459 | 4.36 | -0.097 | -0.196 | -2.138 | -4.305 | 0.099

## All_runs
run_id | kind | Generation project delays | Transmission project delays | Fuel prices | Demand growth | Total transmission [km] | Total transmission capacity [GW] | Total installed generation capacity [GW] | Country average electricity price [USD/MWh]
base | base | 0 | 0 | 0 | 0 | 46341.2344 | 4.5559 | 63.8496 | 124.4627
oat_gen_delay_low | tornado | -0.2 | 0 | 0 | 0 | 49317.4688 | 4.4585 | 70.6377 | 118.5997
oat_gen_delay_high | tornado | 0.2 | 0 | 0 | 0 | 47107.207 | 4.3598 | 64.5532 | 124.1224
oat_trans_delay_low | tornado | 0 | -0.2 | 0 | 0 | 47153.5312 | 4.791 | 64.7196 | 123.1024
oat_trans_delay_high | tornado | 0 | 0.2 | 0 | 0 | 46666.9883 | 4.3337 | 64.6433 | 125.7287
oat_fuel_low | tornado | 0 | 0 | -0.15 | 0 | 46432.3672 | 4.777 | 64.0781 | 124.9597
oat_fuel_high | tornado | 0 | 0 | 0.15 | 0 | 47161.3086 | 4.5828 | 64.7177 | 124.9544
oat_demand_low | tornado | 0 | 0 | 0 | -0.2 | 37589.2266 | 4.1738 | 48.4986 | 131.3079
oat_demand_high | tornado | 0 | 0 | 0 | 0.2 | 57383.3867 | 5.2555 | 82.5779 | 118.2218
mc_000 | montecarlo | -0.1157 | -0.19 | 0.1346 | 0.0528 | 51216.2969 | 5.2641 | 71.2602 | 124.9816
mc_001 | montecarlo | -0.0891 | -0.0563 | -0.0703 | 0.1381 | 55646.9844 | 4.9051 | 80.267 | 116.7765
mc_002 | montecarlo | -0.1011 | 0.1578 | -0.1119 | -0.0346 | 48898.2227 | 4.272 | 70.1942 | 118.5954
mc_003 | montecarlo | 0.035 | 0.1114 | 0.1296 | -0.1703 | 39286.7852 | 4.252 | 51.1146 | 130.2801
mc_004 | montecarlo | -0.1364 | 0.0359 | -0.0594 | -0.0031 | 47777.4258 | 4.5545 | 66.8198 | 125.2102
mc_005 | montecarlo | -0.1666 | 0.0139 | -0.1365 | -0.058 | 44903.3164 | 4.4953 | 60.891 | 128.6234
mc_006 | montecarlo | 0.182 | 0.1171 | -0.1146 | 0.0559 | 52477.8164 | 4.7933 | 75.9851 | 116.1476
mc_007 | montecarlo | -0.0384 | -0.1443 | 0.0362 | -0.1252 | 40717.3203 | 4.311 | 53.6482 | 126.8422
mc_008 | montecarlo | 0.0953 | -0.087 | 0.0127 | 0.0658 | 51802.5781 | 4.9401 | 72.7332 | 116.9505
mc_009 | montecarlo | 0.0985 | 0.0263 | -0.0251 | 0.1728 | 58561.7344 | 5.0258 | 86.3984 | 114.9366
mc_010 | montecarlo | -0.1404 | -0.0809 | 0.0075 | -0.0375 | 45875.8164 | 5.1406 | 62.2593 | 130.3038
mc_011 | montecarlo | -0.1569 | 0.1733 | 0.0437 | 0.1918 | 60509.7695 | 4.976 | 89.741 | 120.504
mc_012 | montecarlo | 0.1573 | 0.0517 | 0.1421 | -0.0109 | 47798.4023 | 4.4604 | 67.122 | 116.6349
mc_013 | montecarlo | 0.1731 | -0.1708 | -0.0372 | 0.0924 | 54160.7188 | 5.073 | 78.038 | 119.6822
mc_014 | montecarlo | -0.0274 | 0.0414 | 0.0415 | 0.1346 | 53447.2969 | 4.9371 | 75.637 | 118.3982
mc_015 | montecarlo | -0.1445 | -0.1922 | 0.0038 | -0.1333 | 42399.5742 | 4.4787 | 56.5007 | 127.7985
mc_016 | montecarlo | -0.0145 | 0.0897 | 0.1269 | 0.0098 | 47120.6797 | 4.6085 | 64.2597 | 126.3245
mc_017 | montecarlo | 0.0252 | -0.0352 | 0.0317 | 0.0349 | 51002.7969 | 4.8214 | 72.5149 | 119.4421
mc_018 | montecarlo | 0.1531 | -0.0575 | -0.1404 | 0.0677 | 53330.1484 | 5.404 | 75.4887 | 120.2279
mc_019 | montecarlo | 0.1208 | 0.0083 | -0.118 | -0.1358 | 41256.4531 | 4.2084 | 55.3002 | 124.4349
mc_020 | montecarlo | 0.1053 | -0.0396 | 0.0865 | 0.1047 | 55227.4375 | 5.0706 | 80.3477 | 119.5203
mc_021 | montecarlo | -0.094 | 0.1771 | 0.1484 | -0.1581 | 38861.1133 | 4.0659 | 51.0779 | 127.7171
mc_022 | montecarlo | -0.0462 | 0.1417 | 0.0528 | -0.1383 | 39864.2422 | 4.4068 | 52.4454 | 128.9563
mc_023 | montecarlo | -0.1513 | -0.071 | 0.0654 | 0.0613 | 52855.9062 | 5.0014 | 75.1142 | 119.6903
mc_024 | montecarlo | 0.1347 | -0.0142 | 0.1197 | -0.0464 | 46749.8789 | 4.6241 | 64.5394 | 120.2884
mc_025 | montecarlo | 0.1792 | 0.0045 | 0.0807 | 0.1133 | 54435.1562 | 5.2829 | 78.6383 | 118.023
mc_026 | montecarlo | 0.0269 | -0.1066 | -0.0203 | 0.1667 | 56937.832 | 5.3629 | 83.2403 | 115.3325
mc_027 | montecarlo | 0.002 | -0.1516 | 0.1158 | 0.0297 | 48286.0039 | 5.5182 | 65.317 | 125.4875
mc_028 | montecarlo | 0.0429 | 0.0306 | -0.1224 | 0.0768 | 52813.668 | 5.1445 | 76.7135 | 118.0021
mc_029 | montecarlo | 0.1621 | -0.0223 | 0.0257 | -0.0983 | 43137.0039 | 4.3823 | 58.1601 | 123.6386
mc_030 | montecarlo | 0.1011 | -0.1381 | 0.0185 | -0.084 | 43735.9219 | 4.3655 | 57.999 | 127.0178
mc_031 | montecarlo | 0.0522 | 0.1646 | 0.1228 | 0.0389 | 48989.5352 | 4.5167 | 68.5093 | 119.6635
mc_032 | montecarlo | -0.1889 | 0.1215 | -0.1489 | -0.0043 | 50619.8242 | 4.4924 | 72.8616 | 116.8386
mc_033 | montecarlo | 0.1922 | 0.0435 | -0.0605 | 0.157 | 58114.7305 | 4.9385 | 84.6039 | 117.9947
mc_034 | montecarlo | 0.0304 | -0.1161 | -0.029 | 0.0462 | 52356.332 | 5.4618 | 74.9058 | 116.9294
mc_035 | montecarlo | 0.0676 | -0.0039 | -0.0638 | -0.1145 | 42062.3164 | 4.226 | 55.4893 | 128.2892
mc_036 | montecarlo | -0.1499 | -0.125 | 0.1475 | 0.1431 | 57951.4727 | 4.9988 | 85.0724 | 118.893
mc_037 | montecarlo | -0.1931 | 0.0696 | 0.113 | -0.16 | 40648.5391 | 4.3065 | 53.9692 | 129.5811
mc_038 | montecarlo | -0.0815 | -0.0971 | 0.1364 | -0.1942 | 37658.207 | 4.1032 | 47.8113 | 132.4297
mc_039 | montecarlo | -0.0426 | 0.1973 | 0.03 | 0.1527 | 53659.3203 | 4.9615 | 75.5401 | 125.4192
mc_040 | montecarlo | 0.0851 | -0.182 | -0.1338 | -0.0468 | 46309.3555 | 4.7369 | 63.6127 | 120.7411
mc_041 | montecarlo | -0.1678 | 0.1884 | 0.0015 | 0.0891 | 54072.457 | 4.5583 | 79.1495 | 116.9947
mc_042 | montecarlo | -0.1237 | 0.1437 | -0.0761 | 0.002 | 48295.4062 | 4.8018 | 66.7598 | 126.2479
mc_043 | montecarlo | 0.1279 | 0.0936 | -0.0697 | 0.1184 | 55700.6289 | 4.7827 | 81.4526 | 120.8769
mc_044 | montecarlo | -0.1723 | 0.0661 | -0.1432 | -0.0649 | 44701.5 | 4.4354 | 60.1034 | 129.6498
mc_045 | montecarlo | -0.0256 | -0.1306 | -0.0452 | -0.1112 | 41322.1016 | 4.748 | 54.0596 | 128.5773
mc_046 | montecarlo | 0.0471 | 0.0213 | 0.1023 | 0.1854 | 59354.9922 | 5.2469 | 88.0268 | 116.2165
mc_047 | montecarlo | 0.0555 | 0.1024 | -0.1385 | -0.11 | 42418.8516 | 4.5328 | 56.8029 | 126.2573
mc_048 | montecarlo | 0.1127 | -0.0283 | 0.0984 | 0.0238 | 49641.4688 | 4.5755 | 69.4874 | 117.6498
mc_049 | montecarlo | -0.0051 | -0.0642 | -0.0908 | -0.0753 | 43213.1289 | 4.5328 | 57.5283 | 126.7507
mc_050 | montecarlo | 0.0085 | 0.0577 | 0.1324 | -0.199 | 38129.3711 | 4.1345 | 49.1287 | 126.1903
mc_051 | montecarlo | -0.1368 | -0.0118 | 0.0699 | 0.1556 | 57048.4531 | 5.0595 | 83.1465 | 115.9316
mc_052 | montecarlo | 0.0923 | -0.1104 | 0.0382 | 0.1 | 54163.5078 | 5.5597 | 78.6165 | 118.6421
mc_053 | montecarlo | 0.0758 | -0.0073 | -0.1302 | -0.1058 | 43551.1875 | 4.284 | 58.634 | 122.6298
mc_054 | montecarlo | -0.1804 | -0.0756 | 0.1043 | -0.154 | 41948 | 4.3849 | 56.457 | 127.4444
mc_055 | montecarlo | -0.0693 | 0.0196 | -0.0303 | -0.0721 | 43705.6523 | 4.266 | 58.4881 | 129.3185
mc_056 | montecarlo | -0.0512 | -0.1087 | 0.0879 | -0.0776 | 43921.2969 | 4.5505 | 58.8175 | 122.7641
mc_057 | montecarlo | -0.0909 | -0.1777 | 0.0524 | -0.083 | 43360.25 | 4.209 | 58.3202 | 129.5991
mc_058 | montecarlo | -0.0539 | 0.0824 | -0.0106 | -0.1646 | 38927.1328 | 4.3371 | 49.1786 | 135.6326
mc_059 | montecarlo | -0.0622 | 0.1747 | -0.1071 | 0.0951 | 52594.2344 | 5.0828 | 73.1215 | 123.0913
mc_060 | montecarlo | 0.0456 | -0.1006 | 0.1214 | 0.0594 | 53030.6875 | 5.1183 | 76.0327 | 117.8757
mc_061 | montecarlo | 0.0787 | 0.0482 | -0.0797 | -0.1929 | 38383.4648 | 4.1433 | 49.4097 | 128.7111
mc_062 | montecarlo | -0.072 | -0.1168 | 0.0343 | -0.0683 | 43426.8867 | 4.4766 | 57.2184 | 130.7307
mc_063 | montecarlo | -0.0997 | -0.0169 | 0.0565 | 0.1762 | 57967.3828 | 5.386 | 83.0991 | 115.9162
mc_064 | montecarlo | -0.0755 | 0.183 | -0.0886 | -0.091 | 42248.4844 | 4.2319 | 55.4785 | 131.4638
mc_065 | montecarlo | 0.0599 | -0.0303 | -0.0504 | -0.0428 | 46744.5 | 4.426 | 65.6819 | 123.9673
mc_066 | montecarlo | 0.0141 | -0.0495 | 0.0219 | -0.1205 | 41301.2188 | 4.3438 | 54.3827 | 126.5116
mc_067 | montecarlo | -0.1763 | 0.0722 | -0.0398 | -0.1826 | 38851.6094 | 4.0214 | 50.8853 | 127.5389
mc_068 | montecarlo | 0.0712 | -0.0009 | -0.0081 | 0.0836 | 51131.0898 | 5.0455 | 71.1033 | 121.2948
mc_069 | montecarlo | -0.0097 | 0.1851 | -0.1161 | -0.1031 | 41946.1523 | 4.5027 | 55.3756 | 127.7849
mc_070 | montecarlo | -0.1058 | -0.1416 | -0.0945 | 0.1893 | 59404.7344 | 5.4319 | 85.78 | 116.464
mc_071 | montecarlo | 0.1497 | 0.0107 | 0.0159 | -0.1839 | 38740.793 | 4.0913 | 50.7957 | 131.3434
mc_072 | montecarlo | -0.1789 | -0.1628 | 0.0113 | 0.0163 | 49518.6602 | 4.9152 | 68.636 | 122.8966
mc_073 | montecarlo | 0.1153 | 0.1093 | -0.0229 | -0.0208 | 47084.4727 | 4.5088 | 65.8573 | 118.796
mc_074 | montecarlo | 0.1875 | -0.0795 | 0.0947 | 0.1096 | 54849.5312 | 5.0543 | 79.4424 | 119.1167
mc_075 | montecarlo | 0.0056 | -0.0842 | 0.1053 | 0.1964 | 56914.3945 | 5.5569 | 81.5311 | 118.1388
mc_076 | montecarlo | -0.0496 | 0.0603 | -0.0964 | -0.0615 | 44030.6562 | 4.7148 | 58.1626 | 129.2291
mc_077 | montecarlo | -0.0007 | -0.0253 | 0.1446 | -0.0079 | 46645.6719 | 4.6095 | 63.149 | 127.344
mc_078 | montecarlo | -0.1953 | -0.1299 | 0.0915 | 0.0432 | 52614.3125 | 4.8605 | 75.8423 | 117.1587
mc_079 | montecarlo | 0.1239 | -0.0611 | 0.0721 | -0.1683 | 39904.8203 | 4.5941 | 51.2867 | 127.7384
mc_080 | montecarlo | -0.1608 | 0.001 | -0.0485 | -0.1459 | 41509.1875 | 4.2028 | 55.5014 | 130.0439
mc_081 | montecarlo | 0.1952 | -0.1351 | 0.0956 | -0.1869 | 38801.6562 | 4.1167 | 50.4843 | 128.6924
mc_082 | montecarlo | 0.1748 | -0.0424 | 0.0613 | 0.1135 | 55177.543 | 5.845 | 78.9156 | 118.9957
mc_083 | montecarlo | -0.0125 | 0.0984 | 0.0788 | 0.1486 | 53053.5586 | 4.8728 | 74.0292 | 125.1065
mc_084 | montecarlo | 0.0193 | -0.1545 | -0.1078 | 0.0198 | 48908.8945 | 5.6055 | 67.8251 | 120.9265
mc_085 | montecarlo | -0.1288 | 0.1472 | -0.0341 | 0.1458 | 57250.875 | 4.9642 | 84.5053 | 115.6602
mc_086 | montecarlo | 0.1835 | 0.0793 | -0.0869 | 0.072 | 52853.3516 | 4.7019 | 75.8012 | 115.9509
mc_087 | montecarlo | 0.1999 | 0.1526 | 0.1394 | -0.025 | 47712.6758 | 4.4896 | 67.5061 | 118.0116
mc_088 | montecarlo | 0.1401 | -0.1202 | 0.0485 | -0.0558 | 46142.832 | 4.7265 | 63.3574 | 118.5406
mc_089 | montecarlo | -0.0196 | -0.0454 | -0.0538 | 0.0819 | 51859.5781 | 5.0039 | 72.3946 | 117.9278
mc_090 | montecarlo | -0.1084 | 0.1062 | -0.0401 | 0.1025 | 53752.8594 | 4.7003 | 76.0107 | 123.757
mc_091 | montecarlo | 0.0207 | -0.053 | -0.0058 | 0.1285 | 55723.9531 | 5.7617 | 79.7265 | 117.2887
mc_092 | montecarlo | -0.1322 | 0.1333 | -0.1458 | -0.0174 | 47453.5078 | 4.7671 | 65.388 | 125.7098
mc_093 | montecarlo | -0.0781 | -0.176 | 0.0073 | -0.0868 | 43360.6602 | 4.7441 | 58.0053 | 122.2459
mc_094 | montecarlo | -0.0201 | 0.0846 | 0.0243 | 0.0321 | 47620.7461 | 4.6197 | 64.688 | 127.5794
mc_095 | montecarlo | 0.0898 | 0.027 | 0.0774 | -0.0943 | 43229.582 | 4.5615 | 58.7796 | 123.4397
mc_096 | montecarlo | -0.1998 | -0.1472 | 0.0741 | 0.1328 | 58491.2109 | 5.08 | 86.7551 | 119.4386
mc_097 | montecarlo | 0.1328 | -0.185 | 0.084 | -0.1748 | 39070.8555 | 4.2277 | 50.7066 | 129.0374
mc_098 | montecarlo | -0.1194 | 0.1265 | 0.0582 | -0.179 | 38463.0977 | 4.2913 | 50.0764 | 129.2191
mc_099 | montecarlo | 0.0827 | 0.1671 | -0.0569 | 0.1626 | 56033.625 | 5.0979 | 81.7084 | 117.1464
mc_100 | montecarlo | -0.0323 | -0.0904 | -0.0737 | 0.0061 | 47610.9961 | 5.0081 | 65.0613 | 123.9038
mc_101 | montecarlo | -0.0343 | 0.0545 | -0.0449 | 0.1999 | 57332.207 | 5.0805 | 82.4261 | 115.7625
mc_102 | montecarlo | -0.1543 | -0.1992 | -0.0046 | -0.1433 | 41757.8164 | 4.2808 | 55.3513 | 128.9065
mc_103 | montecarlo | -0.0838 | 0.1622 | -0.0182 | 0.1817 | 57271.2773 | 5.0207 | 81.8928 | 120.6243
mc_104 | montecarlo | 0.0666 | 0.0734 | -0.0808 | -0.1498 | 40106.875 | 4.3491 | 53.017 | 131.1668
mc_105 | montecarlo | 0.0609 | 0.0384 | -0.0149 | -0.1183 | 42062.3516 | 4.2737 | 56.2064 | 125.6671
mc_106 | montecarlo | -0.1212 | -0.0684 | 0.1079 | 0.0749 | 52828.5352 | 4.9012 | 74.2755 | 122.7592
mc_107 | montecarlo | 0.1691 | 0.1135 | -0.1035 | 0.1774 | 59515.8125 | 5.3296 | 86.9995 | 116.9317
mc_108 | montecarlo | 0.1636 | 0.0914 | -0.0015 | -0.03 | 47301.1211 | 4.5387 | 66.015 | 118.3604
mc_109 | montecarlo | 0.1089 | -0.169 | -0.016 | -0.1509 | 39801.7344 | 4.2593 | 52.8308 | 127.5391
mc_110 | montecarlo | -0.0656 | -0.1958 | -0.1297 | -0.1287 | 40460.0078 | 4.2067 | 53.1307 | 129.4054
mc_111 | montecarlo | 0.0372 | 0.1398 | -0.0978 | 0.0226 | 50034.5586 | 4.6125 | 71.0865 | 118.6633
mc_112 | montecarlo | -0.1115 | -0.0947 | -0.1019 | 0.0475 | 50440.6211 | 4.6998 | 69.9982 | 128.1725
mc_113 | montecarlo | 0.1182 | 0.1338 | 0.0459 | 0.1209 | 56079.418 | 4.8746 | 82.3637 | 120.4822
mc_114 | montecarlo | 0.1386 | -0.1575 | -0.0839 | -0.0507 | 46827.7969 | 5.1427 | 64.3 | 119.7134
mc_115 | montecarlo | 0.1555 | -0.1654 | 0.064 | -0.0143 | 47664.3047 | 4.7051 | 66.8146 | 118.679
mc_116 | montecarlo | 0.145 | 0.1953 | 0.1125 | 0.1259 | 55193.5938 | 4.6885 | 79.8814 | 117.0417
mc_117 | montecarlo | 0.013 | 0.1913 | -0.067 | 0.0113 | 49513.5625 | 4.6625 | 70.2156 | 116.8462
mc_118 | montecarlo | -0.1861 | 0.1555 | -0.1271 | -0.0294 | 46988.0742 | 4.6223 | 65.8161 | 124.1089
mc_119 | montecarlo | -0.059 | 0.1289 | -0.1246 | 0.1648 | 55132.668 | 5.0223 | 77.6852 | 123.4679

## Convergence
Runs | KPI | P10 | P50 | P90 | P50 change vs all runs [%]
10 | Total transmission [km] | 40574.267 | 50057.26 | 55938.459 | 4.749
10 | Total transmission capacity [GW] | 4.27 | 4.674 | 5.05 | -0.556
10 | Total installed generation capacity [GW] | 53.395 | 70.727 | 80.88 | 5.852
10 | Country average electricity price [USD/MWh] | 116.026 | 121.788 | 128.789 | -0.793
20 | Total transmission [km] | 41202.54 | 49950.51 | 55938.459 | 4.525
20 | Total transmission capacity [GW] | 4.27 | 4.807 | 5.153 | 2.283
20 | Total installed generation capacity [GW] | 55.135 | 70.727 | 80.88 | 5.852
20 | Country average electricity price [USD/MWh] | 116.586 | 120.366 | 128.789 | -1.951
30 | Total transmission [km] | 40632.012 | 49950.51 | 55776.069 | 4.525
30 | Total transmission capacity [GW] | 4.27 | 4.863 | 5.291 | 3.473
30 | Total installed generation capacity [GW] | 53.528 | 70.727 | 80.637 | 5.852
30 | Country average electricity price [USD/MWh] | 116.586 | 120.258 | 128.657 | -2.039
50 | Total transmission [km] | 40710.442 | 48943.879 | 57039.196 | 2.419
50 | Total transmission capacity [GW] | 4.27 | 4.742 | 5.266 | 0.902
50 | Total installed generation capacity [GW] | 53.937 | 68.998 | 83.377 | 3.264
50 | Country average electricity price [USD/MWh] | 116.762 | 120.623 | 129.019 | -1.742
75 | Total transmission [km] | 39517.768 | 47798.402 | 57004.205 | 0.022
75 | Total transmission capacity [GW] | 4.216 | 4.576 | 5.275 | -2.649
75 | Total installed generation capacity [GW] | 51.647 | 66.76 | 83.128 | -0.086
75 | Country average electricity price [USD/MWh] | 116.692 | 122.897 | 129.63 | 0.11
100 | Total transmission [km] | 39265.192 | 47787.914 | 56948.894 | 0
100 | Total transmission capacity [GW] | 4.224 | 4.701 | 5.365 | 0.023
100 | Total installed generation capacity [GW] | 51.111 | 66.79 | 83.104 | -0.041
100 | Country average electricity price [USD/MWh] | 116.762 | 122.83 | 129.583 | 0.056
120 | Total transmission [km] | 39857.991 | 47787.914 | 57068.695 | 0
120 | Total transmission capacity [GW] | 4.228 | 4.7 | 5.288 | 0
120 | Total installed generation capacity [GW] | 52.33 | 66.817 | 82.493 | 0
120 | Country average electricity price [USD/MWh] | 116.832 | 122.762 | 129.423 | 0

## Rank_correlation
| Total transmission [km] | Total transmission capacity [GW] | Total installed generation capacity [GW] | Country average electricity price [USD/MWh]
Generation project delays | 0.044 | 0.081 | 0.053 | -0.264
Transmission project delays | 0.112 | -0.142 | 0.121 | -0.081
Fuel prices | -0.008 | -0.013 | -0.014 | -0.014
Demand growth | 0.985 | 0.835 | 0.973 | -0.752