## README
Item | Explanation
Objective | Assess how uncertainty in generation-plant delays, transmission delays and fuel prices affects transmission expansion, generation capacity and the country average price.
Model | ModeloCh4_Correccion.mdl with data from PERU.xlsx; simulated 2025-01 to 2050-01 (300 months, dt = 0.25 month) with PySD.
Factor 1 – Generation delays | ±20% of licensing + construction time of every technology (same mechanism as 'Other delays' in sheet 'Gen Investment parameters'). Base = 0 %.
Factor 2 – Transmission delays | ±20% on the public-tender, investor-selection, licensing and construction times of transmission projects (lines and GETs, sheet 'Trans Investment parameters'). The 12-month planning cycle is not changed.
Factor 3 – Fuel prices | ±15% on 'Fuel Cost' of every technology (sheet 'Gen Investment parameters', row 21).
Tornado diagram | One-at-a-time: each factor is set to its low and its high value while the others stay at base. Bars show the change of the KPI against the base case; factors are sorted by swing (¦high − low¦).
P10–P90 distribution | 34 Latin-Hypercube Monte Carlo runs with the three factors varying simultaneously (uniform distributions). P10 = value exceeded by 90 % of runs; P90 = value exceeded by 10 % of runs; P50 = median.
Best / worst scenario | Chosen among the Monte Carlo runs: best = lowest country average price, worst = highest country average price
KPI – Total transmission [km] | 'Total Transmission' = demand-connection + generation-connection + interconnection lines, value at Jan-2050.
KPI – Transmission capacity [GW] | 'Total Interconnection Capacity' (MW) / 1000, value at Jan-2050.
KPI – Generation capacity [GW] | 'Total Generation Capacity', value at Jan-2050.
KPI – Country average price [USD/MWh] | Mean of 'Electricity Tariff[Regulated, Zone]' over the active zones; KPI = mean of the last 12 months of the run. Components: generation tariff, transmission tariff, congestion tariff and other charges (taxes, distribution, etc.).
Sampling | Latin Hypercube (seed 2026): each factor range is cut into 34 equal intervals and one value is drawn at random inside each interval; the intervals of the three factors are paired at random. This covers each range evenly with fewer runs than plain random sampling.
Convergence check | Sheet 'Convergence' and chart 10: P10/P50/P90 recomputed with the first 10, 20, 50, 100 ... runs. If the values no longer move, the number of runs is sufficient.
Factor influence | Sheet 'Rank_correlation' and chart 11: Spearman rank correlation between each factor and each KPI over all Monte Carlo runs (-1 to +1; near 0 = no influence). It complements the tornado, which varies one factor at a time.
Traceability | tornado_results/runs/<run>.csv = full monthly output of every run; <run>.json = factor values used; run_log.csv = finish time and duration of each run; experiment_design.csv = full sample. Model copy actually simulated: tornado_results/_model/peru_sens.mdl.
Charts | 00 summary table, 01–02 P10–P90 distribution, 03 tornado, 04 price, 05 installed capacity by technology, 06 generation by technology, 07 transmission capacity (GW), 08 transmission length (km), 09 sampling design, 10 convergence, 11 factor influence.

## Best_Worst_Scenarios
Scenario | Run | Generation delays | Transmission delays | Fuel prices | Total transmission 2030 [km] | Total transmission 2040 [km] | Total transmission 2050 [km] | Total transmission capacity 2030 [GW] | Total transmission capacity 2040 [GW] | Total transmission capacity 2050 [GW] | Total installed generation capacity 2030 [GW] | Total installed generation capacity 2040 [GW] | Total installed generation capacity 2050 [GW] | Country average electricity price 2030 [USD/MWh] | Country average electricity price 2040 [USD/MWh] | Country average electricity price 2050 [USD/MWh] | Total transmission 2050 vs base [%] | Total transmission capacity 2050 vs base [%] | Total installed generation capacity 2050 vs base [%] | Country average electricity price 2050 vs base [%]
Base | base | +0.0% | +0.0% | +0.0% | 20896.26 | 33462.76 | 46341.23 | 1.6 | 3.56 | 4.56 | 21.26 | 39.99 | 63.85 | 191.83 | 147.2 | 124.46 | 0 | 0 | 0 | 0
Best | mc_012 | +15.7% | +5.2% | +14.2% | 20198.84 | 34320.48 | 48817.38 | 1.6 | 3.67 | 4.62 | 19.81 | 41.45 | 68.68 | 198.82 | 135.7 | 116.53 | 5.3 | 1.3 | 7.6 | -6.4
Worst | mc_001 | -8.9% | -5.6% | -7.0% | 21084.35 | 35267.86 | 47605.65 | 1.6 | 3.52 | 4.51 | 21.96 | 43.78 | 64.38 | 182.76 | 136.97 | 130.18 | 2.7 | -1.1 | 0.8 | 4.6

## Distribution_P10_P90
| Base | P10 | P50 | P90 | Mean | Min | Max | P90 − P10
Total transmission [km] | 46341.23 | 46884.53 | 48851.79 | 49533.3 | 48547.66 | 46073.64 | 50755.98 | 2648.77
Total transmission capacity [GW] | 4.56 | 4.42 | 4.61 | 4.86 | 4.64 | 4.35 | 5.26 | 0.44
Total installed generation capacity [GW] | 63.85 | 64.18 | 68.63 | 70.46 | 68.01 | 62.58 | 73.54 | 6.28
Country average electricity price [USD/MWh] | 124.46 | 116.79 | 119.41 | 125.78 | 120.66 | 116.53 | 130.18 | 8.99

## Tornado
KPI | Unit | Factor | Range | Base value | Value with factor low | Value with factor high | Change (low) | Change (high) | Change (low) % | Change (high) % | Swing ¦high−low¦
Country average electricity price | USD/MWh | Generation project delays | −20% / +20% | 124.463 | 118.6 | 124.122 | -5.863 | -0.34 | -4.711 | -0.273 | 5.523
Country average electricity price | USD/MWh | Transmission project delays | −20% / +20% | 124.463 | 123.102 | 125.729 | -1.36 | 1.266 | -1.093 | 1.017 | 2.626
Country average electricity price | USD/MWh | Fuel prices | −15% / +15% | 124.463 | 124.96 | 124.954 | 0.497 | 0.492 | 0.399 | 0.395 | 0.005
Total installed generation capacity | GW | Generation project delays | −20% / +20% | 63.85 | 70.638 | 64.553 | 6.788 | 0.704 | 10.631 | 1.102 | 6.085
Total installed generation capacity | GW | Fuel prices | −15% / +15% | 63.85 | 64.078 | 64.718 | 0.229 | 0.868 | 0.358 | 1.36 | 0.64
Total installed generation capacity | GW | Transmission project delays | −20% / +20% | 63.85 | 64.72 | 64.643 | 0.87 | 0.794 | 1.363 | 1.243 | 0.076
Total transmission | km | Generation project delays | −20% / +20% | 46341.234 | 49317.469 | 47107.207 | 2976.234 | 765.973 | 6.422 | 1.653 | 2210.262
Total transmission | km | Fuel prices | −15% / +15% | 46341.234 | 46432.367 | 47161.309 | 91.133 | 820.074 | 0.197 | 1.77 | 728.941
Total transmission | km | Transmission project delays | −20% / +20% | 46341.234 | 47153.531 | 46666.988 | 812.297 | 325.754 | 1.753 | 0.703 | 486.543
Total transmission capacity | GW | Transmission project delays | −20% / +20% | 4.556 | 4.791 | 4.334 | 0.235 | -0.222 | 5.161 | -4.878 | 0.457
Total transmission capacity | GW | Fuel prices | −15% / +15% | 4.556 | 4.777 | 4.583 | 0.221 | 0.027 | 4.852 | 0.591 | 0.194
Total transmission capacity | GW | Generation project delays | −20% / +20% | 4.556 | 4.459 | 4.36 | -0.097 | -0.196 | -2.138 | -4.305 | 0.099

## All_runs
run_id | kind | Generation delays | Transmission delays | Fuel prices | Total transmission [km] | Total transmission capacity [GW] | Total installed generation capacity [GW] | Country average electricity price [USD/MWh]
base | base | 0 | 0 | 0 | 46341.2344 | 4.5559 | 63.8496 | 124.4627
oat_gen_delay_low | tornado | -0.2 | 0 | 0 | 49317.4688 | 4.4585 | 70.6377 | 118.5997
oat_gen_delay_high | tornado | 0.2 | 0 | 0 | 47107.207 | 4.3598 | 64.5532 | 124.1224
oat_trans_delay_low | tornado | 0 | -0.2 | 0 | 47153.5312 | 4.791 | 64.7196 | 123.1024
oat_trans_delay_high | tornado | 0 | 0.2 | 0 | 46666.9883 | 4.3337 | 64.6433 | 125.7287
oat_fuel_low | tornado | 0 | 0 | -0.15 | 46432.3672 | 4.777 | 64.0781 | 124.9597
oat_fuel_high | tornado | 0 | 0 | 0.15 | 47161.3086 | 4.5828 | 64.7177 | 124.9544
mc_000 | montecarlo | -0.1157 | -0.19 | 0.1346 | 48611.6484 | 4.6971 | 67.8901 | 123.0365
mc_001 | montecarlo | -0.0891 | -0.0563 | -0.0703 | 47605.6484 | 4.5119 | 64.3817 | 130.1787
mc_002 | montecarlo | -0.1011 | 0.1578 | -0.1119 | 50755.9805 | 4.4017 | 73.5418 | 117.0946
mc_003 | montecarlo | 0.035 | 0.1114 | 0.1296 | 49571.0977 | 4.5487 | 70.6852 | 119.5822
mc_004 | montecarlo | -0.1364 | 0.0359 | -0.0594 | 47794.0352 | 4.4884 | 67.3309 | 124.3787
mc_005 | montecarlo | -0.1666 | 0.0139 | -0.1365 | 49255.5625 | 4.3929 | 70.2755 | 118.7494
mc_006 | montecarlo | 0.182 | 0.1171 | -0.1146 | 49714.0352 | 4.5366 | 70.5182 | 117.6486
mc_007 | montecarlo | -0.0384 | -0.1443 | 0.0362 | 47346.5234 | 4.893 | 64.6036 | 123.8058
mc_008 | montecarlo | 0.0953 | -0.087 | 0.0127 | 49160.1914 | 4.6834 | 68.5392 | 118.2202
mc_009 | montecarlo | 0.0985 | 0.0263 | -0.0251 | 49405.8047 | 4.9328 | 70.7445 | 116.7593
mc_010 | montecarlo | -0.1404 | -0.0809 | 0.0075 | 49047.2891 | 5.2566 | 69.3615 | 118.5493
mc_011 | montecarlo | -0.1569 | 0.1733 | 0.0437 | 48807.7188 | 4.7795 | 69.023 | 126.082
mc_012 | montecarlo | 0.1573 | 0.0517 | 0.1421 | 48817.375 | 4.6238 | 68.6801 | 116.5298
mc_013 | montecarlo | 0.1731 | -0.1708 | -0.0372 | 49043.9922 | 4.634 | 68.6937 | 118.3564
mc_014 | montecarlo | -0.0274 | 0.0414 | 0.0415 | 46073.6367 | 4.601 | 62.5754 | 125.0859
mc_015 | montecarlo | -0.1445 | -0.1922 | 0.0038 | 48435.5742 | 5.0573 | 67.9319 | 123.9796
mc_016 | montecarlo | -0.0145 | 0.0897 | 0.1269 | 46856.125 | 4.6061 | 63.9705 | 127.6017
mc_017 | montecarlo | 0.0252 | -0.0352 | 0.0317 | 49000.3047 | 4.6748 | 69.3158 | 121.1682
mc_018 | montecarlo | 0.1531 | -0.0575 | -0.1404 | 48564.7383 | 4.7471 | 67.9518 | 118.0202
mc_019 | montecarlo | 0.1208 | 0.0083 | -0.118 | 48886.2031 | 4.6367 | 69.3795 | 116.7749
mc_020 | montecarlo | 0.1053 | -0.0396 | 0.0865 | 48592.7656 | 4.5645 | 67.7249 | 120.4156
mc_021 | montecarlo | -0.094 | 0.1771 | 0.1484 | 46950.8008 | 4.3501 | 64.0949 | 129.4288
mc_022 | montecarlo | -0.0462 | 0.1417 | 0.0528 | 46562.7109 | 4.4602 | 63.804 | 124.9369
mc_023 | montecarlo | -0.1513 | -0.071 | 0.0654 | 49036.2266 | 4.4809 | 68.9367 | 121.1177
mc_024 | montecarlo | 0.1347 | -0.0142 | 0.1197 | 49951.1445 | 4.6242 | 69.663 | 117.7069
mc_025 | montecarlo | 0.1792 | 0.0045 | 0.0807 | 49145.2344 | 4.7316 | 69.0034 | 116.8202
mc_026 | montecarlo | 0.0269 | -0.1066 | -0.0203 | 48998.4766 | 4.5546 | 69.3105 | 120.0727
mc_027 | montecarlo | 0.002 | -0.1516 | 0.1158 | 46690.6953 | 4.5828 | 64.7033 | 122.0837
mc_028 | montecarlo | 0.0429 | 0.0306 | -0.1224 | 49234.3047 | 4.7648 | 69.9078 | 119.2592
mc_029 | montecarlo | 0.1621 | -0.0223 | 0.0257 | 48291.2461 | 4.6323 | 67.9442 | 117.1258
mc_030 | montecarlo | 0.1011 | -0.1381 | 0.0185 | 48992.3516 | 4.678 | 68.5898 | 116.5734
mc_031 | montecarlo | 0.0522 | 0.1646 | 0.1228 | 47293.543 | 4.5849 | 65.0743 | 119.5527
mc_032 | montecarlo | -0.1889 | 0.1215 | -0.1489 | 49445.0938 | 4.3492 | 70.333 | 117.2935
mc_033 | montecarlo | 0.1922 | 0.0435 | -0.0605 | 48682.2148 | 4.5817 | 67.9533 | 118.6097
mc_034 | montecarlo | 0.0304 | -0.1161 | -0.029
mc_035 | montecarlo | 0.0676 | -0.0039 | -0.0638
mc_036 | montecarlo | -0.1499 | -0.125 | 0.1475
mc_037 | montecarlo | -0.1931 | 0.0696 | 0.113
mc_038 | montecarlo | -0.0815 | -0.0971 | 0.1364
mc_039 | montecarlo | -0.0426 | 0.1973 | 0.03
mc_040 | montecarlo | 0.0851 | -0.182 | -0.1338
mc_041 | montecarlo | -0.1678 | 0.1884 | 0.0015
mc_042 | montecarlo | -0.1237 | 0.1437 | -0.0761
mc_043 | montecarlo | 0.1279 | 0.0936 | -0.0697
mc_044 | montecarlo | -0.1723 | 0.0661 | -0.1432
mc_045 | montecarlo | -0.0256 | -0.1306 | -0.0452
mc_046 | montecarlo | 0.0471 | 0.0213 | 0.1023
mc_047 | montecarlo | 0.0555 | 0.1024 | -0.1385
mc_048 | montecarlo | 0.1127 | -0.0283 | 0.0984
mc_049 | montecarlo | -0.0051 | -0.0642 | -0.0908
mc_050 | montecarlo | 0.0085 | 0.0577 | 0.1324
mc_051 | montecarlo | -0.1368 | -0.0118 | 0.0699
mc_052 | montecarlo | 0.0923 | -0.1104 | 0.0382
mc_053 | montecarlo | 0.0758 | -0.0073 | -0.1302
mc_054 | montecarlo | -0.1804 | -0.0756 | 0.1043
mc_055 | montecarlo | -0.0693 | 0.0196 | -0.0303
mc_056 | montecarlo | -0.0512 | -0.1087 | 0.0879
mc_057 | montecarlo | -0.0909 | -0.1777 | 0.0524
mc_058 | montecarlo | -0.0539 | 0.0824 | -0.0106
mc_059 | montecarlo | -0.0622 | 0.1747 | -0.1071
mc_060 | montecarlo | 0.0456 | -0.1006 | 0.1214
mc_061 | montecarlo | 0.0787 | 0.0482 | -0.0797
mc_062 | montecarlo | -0.072 | -0.1168 | 0.0343
mc_063 | montecarlo | -0.0997 | -0.0169 | 0.0565
mc_064 | montecarlo | -0.0755 | 0.183 | -0.0886
mc_065 | montecarlo | 0.0599 | -0.0303 | -0.0504
mc_066 | montecarlo | 0.0141 | -0.0495 | 0.0219
mc_067 | montecarlo | -0.1763 | 0.0722 | -0.0398
mc_068 | montecarlo | 0.0712 | -0.0009 | -0.0081
mc_069 | montecarlo | -0.0097 | 0.1851 | -0.1161
mc_070 | montecarlo | -0.1058 | -0.1416 | -0.0945
mc_071 | montecarlo | 0.1497 | 0.0107 | 0.0159
mc_072 | montecarlo | -0.1789 | -0.1628 | 0.0113
mc_073 | montecarlo | 0.1153 | 0.1093 | -0.0229
mc_074 | montecarlo | 0.1875 | -0.0795 | 0.0947
mc_075 | montecarlo | 0.0056 | -0.0842 | 0.1053
mc_076 | montecarlo | -0.0496 | 0.0603 | -0.0964
mc_077 | montecarlo | -0.0007 | -0.0253 | 0.1446
mc_078 | montecarlo | -0.1953 | -0.1299 | 0.0915
mc_079 | montecarlo | 0.1239 | -0.0611 | 0.0721
mc_080 | montecarlo | -0.1608 | 0.001 | -0.0485
mc_081 | montecarlo | 0.1952 | -0.1351 | 0.0956
mc_082 | montecarlo | 0.1748 | -0.0424 | 0.0613
mc_083 | montecarlo | -0.0125 | 0.0984 | 0.0788
mc_084 | montecarlo | 0.0193 | -0.1545 | -0.1078
mc_085 | montecarlo | -0.1288 | 0.1472 | -0.0341
mc_086 | montecarlo | 0.1835 | 0.0793 | -0.0869
mc_087 | montecarlo | 0.1999 | 0.1526 | 0.1394
mc_088 | montecarlo | 0.1401 | -0.1202 | 0.0485
mc_089 | montecarlo | -0.0196 | -0.0454 | -0.0538
mc_090 | montecarlo | -0.1084 | 0.1062 | -0.0401
mc_091 | montecarlo | 0.0207 | -0.053 | -0.0058
mc_092 | montecarlo | -0.1322 | 0.1333 | -0.1458
mc_093 | montecarlo | -0.0781 | -0.176 | 0.0073
mc_094 | montecarlo | -0.0201 | 0.0846 | 0.0243
mc_095 | montecarlo | 0.0898 | 0.027 | 0.0774
mc_096 | montecarlo | -0.1998 | -0.1472 | 0.0741
mc_097 | montecarlo | 0.1328 | -0.185 | 0.084
mc_098 | montecarlo | -0.1194 | 0.1265 | 0.0582
mc_099 | montecarlo | 0.0827 | 0.1671 | -0.0569
mc_100 | montecarlo | -0.0323 | -0.0904 | -0.0737
mc_101 | montecarlo | -0.0343 | 0.0545 | -0.0449
mc_102 | montecarlo | -0.1543 | -0.1992 | -0.0046
mc_103 | montecarlo | -0.0838 | 0.1622 | -0.0182
mc_104 | montecarlo | 0.0666 | 0.0734 | -0.0808
mc_105 | montecarlo | 0.0609 | 0.0384 | -0.0149
mc_106 | montecarlo | -0.1212 | -0.0684 | 0.1079
mc_107 | montecarlo | 0.1691 | 0.1135 | -0.1035
mc_108 | montecarlo | 0.1636 | 0.0914 | -0.0015
mc_109 | montecarlo | 0.1089 | -0.169 | -0.016
mc_110 | montecarlo | -0.0656 | -0.1958 | -0.1297
mc_111 | montecarlo | 0.0372 | 0.1398 | -0.0978
mc_112 | montecarlo | -0.1115 | -0.0947 | -0.1019
mc_113 | montecarlo | 0.1182 | 0.1338 | 0.0459
mc_114 | montecarlo | 0.1386 | -0.1575 | -0.0839
mc_115 | montecarlo | 0.1555 | -0.1654 | 0.064
mc_116 | montecarlo | 0.145 | 0.1953 | 0.1125
mc_117 | montecarlo | 0.013 | 0.1913 | -0.067
mc_118 | montecarlo | -0.1861 | 0.1555 | -0.1271
mc_119 | montecarlo | -0.059 | 0.1289 | -0.1246
mc_120 | montecarlo | -0.0892 | 0.1919 | 0.0513
mc_121 | montecarlo | 0.0658 | -0.1593 | -0.0832
mc_122 | montecarlo | -0.0256 | -0.0867 | 0.1082
mc_123 | montecarlo | -0.1568 | 0.049 | -0.1207
mc_124 | montecarlo | -0.1845 | -0.0042 | 0.1494
mc_125 | montecarlo | -0.1257 | -0.063 | -0.0944
mc_126 | montecarlo | -0.0672 | -0.1617 | -0.0249
mc_127 | montecarlo | 0.0871 | -0.0344 | -0.0305
mc_128 | montecarlo | 0.0641 | 0.0289 | 0.0334
mc_129 | montecarlo | 0.0926 | 0.0553 | 0.0842
mc_130 | montecarlo | -0.0363 | 0.1431 | 0.0136
mc_131 | montecarlo | -0.1434 | 0.0307 | 0.0706
mc_132 | montecarlo | -0.1999 | 0.1544 | 0.008
mc_133 | montecarlo | 0.1761 | 0.1814 | 0.0048
mc_134 | montecarlo | -0.0966 | -0.0985 | -0.1056
mc_135 | montecarlo | -0.0525 | 0.0025 | 0.0991
mc_136 | montecarlo | 0.0334 | 0.0635 | -0.1353
mc_137 | montecarlo | 0.0129 | -0.0129 | -0.1396
mc_138 | montecarlo | -0.0116 | -0.15 | 0.0813
mc_139 | montecarlo | -0.1481 | -0.0296 | 0.1373
mc_140 | montecarlo | 0.1563 | -0.0516 | -0.0735
mc_141 | montecarlo | 0.0734 | 0.1134 | -0.0895
mc_142 | montecarlo | -0.1718 | 0.1004 | -0.1492
mc_143 | montecarlo | 0.1401 | -0.0911 | 0.0454
mc_144 | montecarlo | -0.137 | 0.0787 | 0.0918
mc_145 | montecarlo | 0.1014 | -0.1483 | -0.0202
mc_146 | montecarlo | 0.1548 | 0.0692 | 0.1122
mc_147 | montecarlo | -0.0343 | 0.1739 | -0.1197
mc_148 | montecarlo | 0.1626 | 0.0932 | -0.0443
mc_149 | montecarlo | -0.1132 | 0.169 | 0.0886
mc_150 | montecarlo | 0.1127 | 0.0165 | -0.128
mc_151 | montecarlo | 0.1187 | 0.178 | -0.1259
mc_152 | montecarlo | -0.046 | -0.0744 | 0.0586
mc_153 | montecarlo | -0.0937 | -0.128 | -0.146
mc_154 | montecarlo | 0.1229 | -0.1798 | 0.1349
mc_155 | montecarlo | 0.0586 | 0.0082 | -0.0934
mc_156 | montecarlo | 0.0033 | 0.0974 | -0.0384
mc_157 | montecarlo | -0.1602 | -0.1053 | 0.0972
mc_158 | montecarlo | -0.0221 | 0.1199 | -0.0796
mc_159 | montecarlo | -0.1316 | 0.1295 | 0.0365
mc_160 | montecarlo | 0.1051 | 0.011 | 0.1258
mc_161 | montecarlo | 0.1857 | 0.1968 | -0.017
mc_162 | montecarlo | 0.1661 | -0.1219 | -0.0348
mc_163 | montecarlo | 0.0169 | 0.1632 | 0.0419
mc_164 | montecarlo | 0.0761 | -0.1871 | 0.1433
mc_165 | montecarlo | -0.0421 | -0.1834 | -0.1328
mc_166 | montecarlo | -0.0042 | 0.0227 | 0.1401
mc_167 | montecarlo | -0.1773 | -0.1743 | 0.0753
mc_168 | montecarlo | 0.0511 | 0.1319 | 0.0239
mc_169 | montecarlo | -0.0157 | -0.1122 | 0.0733
mc_170 | montecarlo | -0.1199 | -0.0806 | -0.0675
mc_171 | montecarlo | -0.1698 | -0.1305 | -0.0981
mc_172 | montecarlo | 0.0226 | 0.1358 | 0.0159
mc_173 | montecarlo | 0.0956 | 0.12 | -0.0555
mc_174 | montecarlo | 0.1326 | 0.0396 | 0.1166
mc_175 | montecarlo | -0.1896 | -0.0176 | -0.008
mc_176 | montecarlo | -0.081 | -0.1391 | 0.0408
mc_177 | montecarlo | -0.106 | -0.0445 | -0.0469
mc_178 | montecarlo | 0.127 | 0.0505 | -0.0011
mc_179 | montecarlo | 0.191 | -0.0081 | 0.1129
mc_180 | montecarlo | -0.0084 | 0.1086 | 0.0214
mc_181 | montecarlo | -0.1209 | -0.1414 | -0.0297
mc_182 | montecarlo | -0.079 | 0.0893 | -0.0712
mc_183 | montecarlo | -0.1903 | -0.1991 | 0.1217
mc_184 | montecarlo | 0.028 | -0.1908 | 0.0285
mc_185 | montecarlo | 0.1997 | -0.0393 | -0.1124
mc_186 | montecarlo | -0.1044 | 0.0412 | -0.0606
mc_187 | montecarlo | 0.1704 | -0.1046 | -0.0768
mc_188 | montecarlo | 0.0803 | -0.1153 | -0.0501
mc_189 | montecarlo | -0.0642 | -0.0223 | -0.0133
mc_190 | montecarlo | 0.1806 | -0.1677 | 0.1278
mc_191 | montecarlo | 0.0098 | 0.0732 | -0.0055
mc_192 | montecarlo | 0.1495 | 0.1493 | 0.064
mc_193 | montecarlo | -0.153 | -0.0671 | 0.0627
mc_194 | montecarlo | 0.0431 | 0.0805 | 0.0554
mc_195 | montecarlo | -0.0743 | -0.057 | 0.0012
mc_196 | montecarlo | 0.1397 | -0.0751 | 0.104
mc_197 | montecarlo | 0.0451 | -0.0464 | -0.1039
mc_198 | montecarlo | 0.0386 | 0.1897 | -0.0588
mc_199 | montecarlo | -0.0576 | 0.158 | -0.1158

## Convergence
Runs | KPI | P10 | P50 | P90 | P50 change vs all runs [%]
10 | Total transmission [km] | 47579.736 | 49207.877 | 49818.23 | 0.729
10 | Total transmission capacity [GW] | 4.401 | 4.543 | 4.897 | -1.566
10 | Total installed generation capacity [GW] | 64.581 | 69.407 | 71.024 | 1.125
10 | Country average electricity price [USD/MWh] | 117.061 | 119.166 | 124.959 | -0.201
20 | Total transmission [km] | 47297.484 | 48851.789 | 49585.391 | 0
20 | Total transmission capacity [GW] | 4.48 | 4.635 | 4.945 | 0.442
20 | Total installed generation capacity [GW] | 64.341 | 68.687 | 70.691 | 0.076
20 | Country average electricity price [USD/MWh] | 116.773 | 119.166 | 126.234 | -0.201
30 | Total transmission [km] | 46839.582 | 48851.789 | 49585.391 | 0
30 | Total transmission capacity [GW] | 4.454 | 4.624 | 4.897 | 0.197
30 | Total installed generation capacity [GW] | 64.082 | 68.687 | 70.535 | 0.076
30 | Country average electricity price [USD/MWh] | 116.816 | 119.827 | 126.234 | 0.353
34 | Total transmission [km] | 46884.528 | 48851.789 | 49533.296 | 0
34 | Total transmission capacity [GW] | 4.419 | 4.615 | 4.859 | 0
34 | Total installed generation capacity [GW] | 64.181 | 68.635 | 70.463 | 0
34 | Country average electricity price [USD/MWh] | 116.788 | 119.406 | 125.783 | 0

## Rank_correlation
| Total transmission [km] | Total transmission capacity [GW] | Total installed generation capacity [GW] | Country average electricity price [USD/MWh]
Generation project delays | 0.129 | 0.222 | 0.088 | -0.557
Transmission project delays | 0.047 | -0.468 | 0.13 | 0.027
Fuel prices | -0.359 | 0.021 | -0.421 | 0.307